# Design of a Flow Velocity Meter for Tides in the River

# Using Arduino

Sanya Samaimak1 and Shanin Harnnarong1

**ABSTRACT**

The Royal Irrigation Department is responsible for managing water availability in Thailand. Many instruments are used to read the data to obtain the needed hydrological data. The instruments that it has applied to measure the velocity of the tide are the flow velocity meters A-OTT C31 that compatible with the audio and numerical displayer Z 41-00. They have been used for 30 years, (1988 - 2018).

Design of a flow velocity meter for tides in the river using Arduino was presented in this paper. It was designed to use as a substitute for the audio and numerical displayer Z 41-00 that were broken. The result of the design and the experimentation show the ability of working together with the flow velocity meters A-OTT C31 and the accuracy of the data acquired from this designed instrument are satisfactory.

**Keyword:** The Royal Irrigation Department, Flow Velocity Meter, Arduinos

**Introduction**

Paper size is 210mm×297mm of A4 paper. Please save to MS Word templates directory. Use 12 point Times New Roman font. Single line spacing is mandatory.Top and bottom margin are 25 mm while the left and right, and bottom margins are 30 mm and 25 mm, respectively. Topics should be left justified and without numbering while subtopics numbering. Leave one line between headings and the first paragraph and oneline space before succeeding paragraphs.

1 Department of Instrumentation Engineering, Faculty of Engineering, Rajamangala University of Technology Rattanakosin, 96 Moo 3 Salaya Phutthamonthon NakhonPathom 73170, Thailand

\*(Corresponding author, e-mail) : sanya.sam@rmutr.ac.th

**Materials and methods**

**1. Figures and tables**

Figures and table are placed within the text, not collected at the end of the document, for presenting figures and tables, type in bold e.g. **Table 1** / **Figure 1** with descriptions in 12 point, size.Figures numbers and labels should be placed on bottom of the figures. Table numbers and labels should be placed on top of the table. Number of the figures and the tables consecutively and locate them after and close to where they are first referenced. Leave at least one line between the table, label and the text. Tables should be auto-fit to window and no vertical lines or borders are needed.

**Figure 1**Name of the figure(This is the example for figure formatting)

**Table 1** Name of the table (This is the example for table formatting)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Groups** | **Pre-Test** | **Post-Test** | **Pre-Test Mean** | **Post-Test Mean** |
| Control Group | 21 | 36 | 22.47 | 22.59 |
| Experimental Group 1 | 38 | 28 | 25.67 | 38.19 |
| Experimental Group 2 | 28 | 45 | 33.46 | 31.85 |

## 2. Color figures and drawings

You may use color figures and photographs in your paper. These will appear in color on the version available in the electronic proceedings. However, please check that your color figures are legible when printed in monochrome (black and white).

**3. Equations**

Equations and symbols should be typed in the equation editor. Number equations consecutively with equation numbers in parentheses.The equation number, enclosed in parentheses, is placed right justified. Symbols and notation shouldbe defined when they first appear. Use one blank line before and after the equation.

**Results and discussions**

**1. Citation and references**

* 1. **In the text**

Sources are cited in the text, usually in parentheses, by the author's surname, the publication date of the work cited. Full details are given in the reference list (under the heading References). Place the reference at the appropriate point in the text; normally just

before punctuation.

**1.2 Within the sameparentheses**

Separate the references with semicolons. The order of thereferences is flexible, so this can be alphabetical,chronological, or in order of importance, depending on thepreference of the author of the article. If citing more thanone work by an author, do not repeat the name.

**1.3 References**

The documents referenced in the text must match the documents listed in the references section. More information mentioned in the reference examples.

**Conclusions**

The main conclusions of the study may be presented in a short Conclusions section, which may stand alone or form a subsection of a Discussion or Results and Discussion section.

**Acknowledgements**

This research was supported by the Institute of Research and Development, Rajamangala University of Technology Rattanakosin. In addition, the authors would like to thank Mr.Voravot Boontong, Hydrologic Instrument Standards Branch Chief, working in Hydrology Division, Bureau of Water Management and Hydrology for all his help and suggestions. Thankfulness to the supporters : Mr.Jetsdaporn Satansup, Mr.Ruangsimon Jamkrajang and Mr.Pawaritsorn Chaisong for all their support throughout the period of this research.

**References**

OTT Hydromet. 2017. A-OTT C31 [Online]. Available: http://www.ott.com/products.

Arduino Language Reference [Online]. https://www.arduino.cc/reference/en.

Makarn, Eakachai. 2009. Learn Understand and Use the AVR Micro controller family with

Arduino. Bangkok: ETT Co., Ltd. (in Thai)

เอกชัย มะการ. 2552. เรียนรู้ เข้าใจ ใช้งานไมโครคอนโทรลเลอร์ตระกูล AVR ด้วย Arduino. กรุงเทพมหานคร:

บริษัท อีทีที จำกัด.

Polpananavee, Pramoht. 2011. Principle of Water Flow calculation through Irrigation

Structures. Bangkok: Regional Irrigation Office 8. (in Thai)

ปราโมท พลพณะนาวี. 2554. หลักการคำนวณน้ำผ่านอาคารชลประทาน. กรุงเทพมหานคร:

สำนักกรมชลประทานที่ 8.

Leevajanakul, Kirati. 2000. Hydrology. Bangkok: Rangsit University Press. (in Thai)

กีรติ ลีวัจนกุล. 2543. อุทกวิทยา. กรุงเทพมหานคร: สำนักพิมพ์มหาวิทยาลัยรังสิต